Title: A Detection-Gated Pipeline for Robust Glottal Segmentation and Clinical Biomarker Extraction in High-Speed Videoendoscopy

Authors: Harikrishnan Unnikrishnan, Rita R. Patel

Background Accurate glottal segmentation in high-speed videoendoscopy (HSV) is the primary determinant of biomarker accuracy. However, existing deep learning models struggle with two hurdles: they produce spurious masks during glottal closure and fail to generalize across institutions, preventing reliable kinematic biomarker extraction at scale.

Methods We propose a detection-gated pipeline integrating a YOLOv8 localizer with a U-Net segmenter. The localizer defines a dynamic region of interest, while a temporal consistency guard suppresses artifacts by holding output during the closed phase (~1 ms). To evaluate generalization, we test a “hybrid” approach where a site-specific localizer is paired with an “anatomical generalist” segmenter trained on an external dataset (GIRAFE segmenter applied to BAGLS) without fine-tuning.

Results The pipeline achieves state-of-the-art segmentation on GIRAFE (DSC = 0.81) and high performance on BAGLS (DSC = 0.856). In cross-dataset settings, the segmenter acts as a generalist that learns generic laryngeal morphology. By pairing an in-distribution specific localizer with this generalist segmenter, the framework maintains a DSC of 0.745 — reaching 87% of the in-domain ceiling — without target-domain pixel-level training. Clinical validation on 65 subjects confirmed that the coefficient of variation (CV) of the glottal area significantly distinguished healthy from pathological function (p = 0.006), matching manual benchmarks. The pipeline processes at ~35 fps on consumer hardware.

Conclusions This architecture provides a robust, real-time solution for glottal segmentation that generalizes across clinical sites without re-training. Publicly released code and weights enable reproducible extraction of biomarkers — including Open Quotient and CV — across diverse HSV platforms, bridging the gap between laboratory models and clinical practice.